## AHU-Cooling Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | 100 OA Start Stop Sequencing | 62854 | Cooling Required LV | 73484
ZN-T Setpoint Determination | 52062 | 100 OA Cold Deck Sequencing | 62973 | Cooling Control Status LV | 73502
Discharge Air Setpoint Determination | 69909 | 100 OA Single Duct Sequencing | 62996 | Cooling Max Cap Fract LV | 73589
Low OA Temperature Diff | 72301 | Cooling Availability Determination | 67893 | MSC Staged Cooling 1 | 73831
Low OA Temperature Setpoint | 72303 | Start Stop Sequencing | 68533 | MSC Staged Cooling 2 | 73997
Unocc Cooling Fan Lockout | 81052 | Start Stop Sequencing DA-T | 68676 | MSC Staged Cooling 3 | 74138
|  | Start Stop Sequencing Zone | 68819 | MSC Staged Cooling 4 | 74268
|  | Always Occupied | 72277 | MSC Staged Cooling 5 | 74384
|  | WarmupCooldown Pass Through | 74873 | MSC Staged Cooling 6 | 74480
|  | Occupancy Mode Determination (MZ) | 80653 | MSC Staged Cooling 7 | 74585
|  | Mixed Air Cold Deck HR Sequencing | 81038 | MSC Staged Cooling 8 | 74699
|  | PID Tuning Reset | 83123 | FBPD 2 Position Valve Cooling Control v50 | 82987
|  | Cooling Override Check | 83128 | AHU Staged Cooling Control v50 | 82989
|  | Cooling Staged Override Check 8 | 83184 | Proportional Valve Cooling Control v51 | 83798
|  | Mixed Air Single Duct HR Sequencing v51 | 83758
|  | Mixed Air Single Duct Sequencing v51 | 83894

## AHU-Heating Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | 100 OA Start Stop Sequencing | 62854 | Heating Required LV | 73487
ZN-T Setpoint Determination | 52062 | 100 OA Single Duct Sequencing | 62996 | Preheat Control Status LV | 73526
Discharge Air Setpoint Determination | 69909 | Heat Recovery Low Limit Sequencing | 64963 | Reheat Control Status LV | 73529
Heating Ramp Rate | 72291 | Heat Recovery Suitability Determination | 64980 | Heating Percent Cmd LV | 73616
Low Limit Setpoint | 72299 | 100 OA Hot Deck Sequencing | 66184 | Preheat 1 LV | 73622
Low OA Temperature Diff | 72301 | Mixed Air Hot Deck Sequencing | 66272 | Preheat 2 LV | 73625
Low OA Temperature Setpoint | 72303 | Preheat Sequencing | 66360 | Preheat 3 LV | 73628
Preheat Setpoint | 72305 | Preheat Availability Determination | 67995 | Preheat 4 LV | 73631
Unocc Heating Fan Lockout | 81051 | Reheat Availaility Determination | 68046 | Preheat 5 LV | 73634
Heat Recovery Low Limit Setpoint | 72289 | Start Stop Sequencing | 68533 | Preheat 6 LV | 73637
HR Energy Wheel Interlock | 86349 | Start Stop Sequencing DA-T | 68676 | Preheat 7 LV | 73640
|  | Start Stop Sequencing Zone | 68819 | Preheat 8 LV | 73643
|  | WarmupCooldown Pass Through | 74873 | Preheat Max Cap Fract LV | 73646
|  | Zone Heating Availability Determination | 80548 | Preheat Percent Cmd | 73649
|  | Occupancy Mode Determination (MZ) | 80653 | Reheat 1 LV | 73652
|  | High Temp Alarm Pass Through | 81319 | Reheat 2 LV | 73655
|  | PID Tuning Reset | 83123 | Reheat 3 LV | 73658
|  | Preheat Override Check | 83133 | Reheat 4 LV | 73661
|  | Reheat Override Check | 83136 | Reheat 5 LV | 73664
|  | Preheat Staged Override Check 08 | 83186 | Reheat 6 LV | 73667
|  | Reheat Staged Override Check 08 | 83188 | Reheat 7 LV | 73670
|  | Mixed Air Single Duct HR Sequencing v51 | 83758 | Reheat 8 LV | 73673
|  | Zone Sequencing v51 | 83759 | Reheat Max Cap Fract LV | 73676
|  | Mixed Air Single Duct Sequencing v51 | 83894 | Reheat Percent Cmd LV | 73679
|  | DA-T Unocc Status Determination v61 | 85858 | MSC Staged Preheat 01 | 73891
|  |  |  | MSC Staged Reheat 01 | 73911
|  |  |  | MSC Staged Preheat 02 | 74066
|  |  |  | MSC Staged Reheat 02 | 74089
|  |  |  | MSC Staged Preheat 03 | 74216
|  |  |  | MSC Staged Reheat 03 | 74242
|  |  |  | MSC Staged Preheat 04 | 74326
|  |  |  | MSC Staged Reheat 04 | 74355
|  |  |  | MSC Staged Preheat 05 | 74416
|  |  |  | MSC Staged Reheat 05 | 74448
|  |  |  | MSC Staged Preheat 06 | 74515
|  |  |  | MSC Staged Reheat 06 | 74550
|  |  |  | MSC Staged Preheat 07 | 74623
|  |  |  | MSC Staged Reheat 07 | 74661
|  |  |  | MSC Staged Preheat 08 | 74740
|  |  |  | MSC Staged Reheat 08 | 74781
|  |  |  | Preheat 1 Totalization | 75184
|  |  |  | Preheat 2 Totalization | 75195
|  |  |  | Preheat 3 Totalization | 75206
|  |  |  | Preheat 4 Totalization | 75217
|  |  |  | Preheat 5 Totalization | 75228
|  |  |  | Preheat 6 Totalization | 75239
|  |  |  | Preheat 7 Totalization | 75250
|  |  |  | Preheat 8 Totalization | 75261
|  |  |  | Reheat 1 Totalization | 75272
|  |  |  | Reheat 2 Totalization | 75283
|  |  |  | Reheat 3 Totalization | 75294
|  |  |  | Reheat 4 Totalization | 75305
|  |  |  | Reheat 5 Totalization | 75316
|  |  |  | Reheat 6 Totalization | 75327
|  |  |  | Reheat 7 Totalization | 75338
|  |  |  | Reheat 8 Totalization | 75349
|  |  |  | Zone 1 Max Cap Fract LV | 80613
|  |  |  | Zone 2 Max Cap Fract LV | 80614
|  |  |  | Zone 3 Max Cap Fract LV | 80615
|  |  |  | Zone 4 Max Cap Fract LV | 80616
|  |  |  | Zone 5 Max Cap Fract LV | 80617
|  |  |  | Zone 6 Max Cap Fract LV | 80618
|  |  |  | Zone 7 Max Cap Fract LV | 80619
|  |  |  | Zone 8 Max Cap Fract LV | 80620
|  |  |  | Zone 1 MSC 2 Position Heating | 80621
|  |  |  | Zone 1 MSC Staged Heating 01 | 80622
|  |  |  | Zone 2 MSC 2 Position Heating | 80623
|  |  |  | Zone 2 MSC Staged Heating 01 | 80624
|  |  |  | Zone 3 MSC 2 Position Heating | 80625
|  |  |  | Zone 3 MSC Staged Heating 01 | 80626
|  |  |  | Zone 4 MSC 2 Position Heating | 80627
|  |  |  | Zone 4 MSC Staged Heating 01 | 80628
|  |  |  | Zone 5 MSC 2 Position Heating | 80629
|  |  |  | Zone 5 MSC Staged Heating 01 | 80630
|  |  |  | Zone 6 MSC 2 Position Heating | 80631
|  |  |  | Zone 6 MSC Staged Heating 01 | 80632
|  |  |  | Zone 7 MSC 2 Position Heating | 80633
|  |  |  | Zone 7 MSC Staged Heating 01 | 80634
|  |  |  | Zone 8 MSC 2 Position Heating | 80635
|  |  |  | Zone 8 MSC Staged Heating 01 | 80636
|  |  |  | Zone 1 MSC Staged Heating 02 | 80637
|  |  |  | Zone 2 MSC Staged Heating 02 | 80638
|  |  |  | Zone 3 MSC Staged Heating 02 | 80639
|  |  |  | Zone 4 MSC Staged Heating 02 | 80640
|  |  |  | Zone 5 MSC Staged Heating 02 | 80641
|  |  |  | Zone 6 MSC Staged Heating 02 | 80642
|  |  |  | Zone 7 MSC Staged Heating 02 | 80643
|  |  |  | Zone 8 MSC Staged Heating 02 | 80644
|  |  |  | Zone 1 MSC Staged Heating 03 | 80645
|  |  |  | Zone 2 MSC Staged Heating 03 | 80646
|  |  |  | Zone 3 MSC Staged Heating 03 | 80647
|  |  |  | Zone 4 MSC Staged Heating 03 | 80648
|  |  |  | Zone 5 MSC Staged Heating 03 | 80649
|  |  |  | Zone 6 MSC Staged Heating 03 | 80650
|  |  |  | Zone 7 MSC Staged Heating 03 | 80651
|  |  |  | Zone 8 MSC Staged Heating 03 | 80652
|  |  |  | HR Energy Wheel Command LV | 81334
|  |  |  | Sequenced Valves Preheat Control v50 | 82995
|  |  |  | Sequenced Valves Reheat Control v50 | 82996
|  |  |  | FBPD 2 Position Valve Preheat Control v50 | 82997
|  |  |  | Staged Preheat Control v50 | 83003
|  |  |  | Staged Reheat Control v50 | 83004
|  |  |  | Zone 1 with Staged Heating Control v50 | 83061
|  |  |  | Zone 2 with Staged Heating Control v50 | 83062
|  |  |  | Zone 3 with Staged Heating Control v50 | 83063
|  |  |  | Zone 4 with Staged Heating Control v50 | 83064
|  |  |  | Zone 5 with Staged Heating Control v50 | 83065
|  |  |  | Zone 6 with Staged Heating Control v50 | 83066
|  |  |  | Zone 7 with Staged Heating Control v50 | 83067
|  |  |  | Zone 8 with Staged Heating Control v50 | 83068
|  |  |  | Zone 1 with 2 Position Heating Valve Control v50 | 83069
|  |  |  | Zone 2 with 2 Position Heating Valve Control v50 | 83070
|  |  |  | Zone 3 with 2 Position Heating Valve Control v50 | 83071
|  |  |  | Zone 4 with 2 Position Heating Valve Control v50 | 83072
|  |  |  | Zone 5 with 2 Position Heating Valve Control v50 | 83073
|  |  |  | Zone 6 with 2 Position Heating Valve Control v50 | 83074
|  |  |  | Zone 7 with 2 Position Heating Valve Control v50 | 83075
|  |  |  | Zone 8 with 2 Position Heating Valve Control v50 | 83076
|  |  |  | Heat Recovery Wheel with Bypass Dampers v50 | 83088
|  |  |  | Zone Damper Mode Pass Through v50 | 83468
|  |  |  | Zone Htg Mode Pass Through v50 | 83469
|  |  |  | Zone Staged Htg Mode Pass Through v50 | 83470
|  |  |  | Proportional Valve Preheat Control v51 | 83809
|  |  |  | Proportional Valve Reheat Control v51 | 83810
|  |  |  | FBPD Proportional Valve Preheat Control v51 | 83811
|  |  |  | Zone 1 with Proportional Heating Valve Control v51 | 83833
|  |  |  | Zone 2 with Proportional Heating Valve Control v51 | 83834
|  |  |  | Zone 3 with Proportional Heating Valve Control v51 | 83835
|  |  |  | Zone 4 with Proportional Heating Valve Control v51 | 83836
|  |  |  | Zone 5 with Proportional Heating Valve Control v51 | 83837
|  |  |  | Zone 6 with Proportional Heating Valve Control v51 | 83838
|  |  |  | Zone 7 with Proportional Heating Valve Control v51 | 83839
|  |  |  | Zone 8 with Proportional Heating Valve Control v51 | 83840
|  |  |  | Proportional Gas Heating Control w Enable | 84475
|  |  |  | Proportional Gas Preheat Control w Enable | 84477

## AHU-Econ Damper Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID | Outdoor Air Flow Calculation Widget Detail
Occupancy Mode Determination | 51131 | Start Stop Sequencing | 68533 | Proportional Damper Minimum OA Flow Control | 68181 | Name | BACOID
ZN-T Setpoint Determination | 52062 | Start Stop Sequencing DA-T | 68676 | Constant Capacity Fan Minimum OA Flow Control | 68287 | Outdoor Air Flow Calculation | 73168
Damper Minimum Position Reset by CO2 | 64497 | Start Stop Sequencing Zone | 68819 | Two Position Exhaust Damper Control | 69760
Cold Deck Discharge Air Setpoint Reset | 64513 | WarmupCooldown Pass Through | 74873 | Two Position Min AO Damper Control | 69815
Economizer Availability Determination | 64616 | Occupancy Mode Determination (MZ) | 80653 | Damper Control Status LV | 73505
Discharge Air Setpoint Determination | 69909 | Mixed Air Cold Deck HR Sequencing | 81038 | Damper Output LV | 73595
Damper Minimum Position Determination | 70973 | PID Tuning Reset | 83123 | Packaged Economizer Control | 80547
Damper Ramp Rate | 72281 | Damper Override Check | 83131 | Min OA Damper Percent LV | 82109
Low Limit Proportional Band | 72297 | Min OA Fan Override Check | 83174 | Dual Exhaust Fan Run Together | 82888
Low Limit Setpoint | 72299 | Min OA Damper Overrride Check | 83175 | Proportional ES Damper Control for Volume Matching v50 | 82990
Minimum OA Flow Calculation | 73159 | Mixed Air Single Duct HR Sequencing v51 | 83758 | Proportional OA Damper Control v50 | 82991
Outdoor Air Flow Calculation | 73168 | Mixed Air Single Duct Sequencing v51 | 83894 | Proportional OA Damper Control Relief Fan v50 | 82992
Econ Enable OA Versus RA | 81169 |  |  | Variable Capacity Fan Minimum OA Flow Control v50 | 83007
Damper Minimum Flow Reset by CO2 | 84482 |  |  | Zone 1 Damper Control v50 | 83045
|  |  |  | Zone 2 Damper Control v50 | 83046
|  |  |  | Zone 3 Damper Control v50 | 83047
|  |  |  | Zone 4 Damper Control v50 | 83048
|  |  |  | Zone 5 Damper Control v50 | 83049
|  |  |  | Zone 6 Damper Control v50 | 83050
|  |  |  | Zone 7 Damper Control v50 | 83051
|  |  |  | Zone 8 Damper Control v50 | 83052
|  |  |  | Damper Min Reset by OA Flow v50 | 83111
|  |  |  | Zone Damper Mode Pass Through v50 | 83468
|  |  |  | EA Damper and Fan Control | 86466
|  |  |  | EA Damper and Fan2 Control | 86468

## AHU-Fan Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | 100 OA Start Stop Sequencing | 62854 | Variable Capacity Return Fan Track Control | 69314
ZN-T Setpoint Determination | 52062 | 100 OA Cold Deck Sequencing | 62973 | Constant Capacity Return Fan Control | 69883
Discharge Air Setpoint Determination | 69909 | 100 OA Single Duct Sequencing | 62996 | Constant Capacity Supply Fan Control | 69896
Damper Minimum Position Determination | 70973 | 100 OA Hot Deck sequencing | 66184 | Proportional Fan Control | 71102
Flow Differential Setpoint Determination | 71089 | Mixed Air Hot Deck Sequencing | 66272 | Supply Fan OnOff LV | 73538
Damper Ramp Rate | 72281 | Start Stop Sequencing | 68533 | Supply Fan Percent Cmd LV | 73685
Volume Match PID Process Range | 72309 | Start Stop Sequencing DA-T | 68676 | Relief Fan Command LV | 81355
Discharge Flow Calculation | 73114 | Start Stop Sequencing Zone | 68819 | Return Fan Command LV | 81356
Return Flow Calculation | 73186 | Loss of Air Flow Sequencing | 68962 | Relief Fan2 Command LV | 82431
Discharge Flow Determination | 77767 | Smoke Control Sequencing for UL-864-UUKL | 81027 | Return Fan2 Command LV | 82432
Unocc Heating Fan Lockout | 81051 | Mixed Air Cold Deck HR Sequencing | 81038 | Supply Fan2 OnOff LV | 82434
Unocc Cooling Fan Lockout | 81052 | Relief Fan Alarms | 81170 | Dual Supply Fan Lead-Lag | 82822
Dual Fan Command OR | 82440 | Return Fan Alarms | 81171 | Dual Supply Fan Run Together | 82823
Relief Fan Interlock | 86344 | Supply Fan Alarms | 81172 | Dual Supply Fan Run-Standby | 82824
Return Fan Interlock | 86345 | Supply Fan2 Alarms | 82435 | Dual Return Fan Lead-Lag | 82826
Relief Fan2 Interlock | 86352 | Relief Fan2 Alarms | 82436 | Dual Return Fan Run Together | 82827
Return Fan2 Interlock | 86353 | Return Fan2 Alarms | 82437 | Dual Return Fan Run-Standby | 82828
OA Damper Interlock | 86460 | Supply Fan Fan Dual Alarms | 82821 | Dual Relief Fan Lead-Lag | 82830
OA Damper2 Interlock | 86461 | Return Fan Dual Alarms | 82825 | Dual Relief Fan Run Together | 82831
|  | Relief Fan Dual Alarms | 82829 | Dual Relief Fan Run-Standby | 82832
|  | Dual Fan Loss of Air Flow Sequencing | 82883 | Relief Fan BSP Control for UL-864-UUKL v50 | 83084
|  | PID Tuning Reset | 83123 | Return Fan BSP Control for UL-864-UUKLv50 | 83085
|  | Supply Fan Override Check | 83166 | Return Fan Volume Match Control for UL-864-UUKLv50 | 83086
|  | Return Fan Override Check | 83170 | Supply Fan Duct Static Control for UL-864-UUKLv50 | 83087
|  | Relief Fan Override Check | 83172 | OA Damper and Fan Control | 86465
|  | Mixed Air Single Duct HR Sequencing v51 | 83758 | OA Damper and Fan2 Control | 86467
|  | Mixed Air Single Duct Sequencing v51 | 83894

## Fan Coil-Cooling Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Always Occupied | 72277 | Cooling Control Status LV | 73502
Summer Winter Compensation | 51863 | Cooling isAvailable Pass Through | 74831 | Cooling Max Cap Fract LV | 73589
ZN-T Setpoint Determination | 52062 | System Mode Determination | 80776 | Cooling Percent Cmd LV | 73592
|  | PID Tuning Reset | 83123 | MSC 2 Position Cooling | 73731
|  | Cooling Override Check | 83128 | MSC Staged Cooling 01 | 73831
|  | Cooling Staged Override Check 01 | 83129 | MSC Staged Cooling 02 | 73997
|  | Occupied Zone Sequencing (FC/AHU)v51 | 83749 | MSC Staged Cooling 03 | 74138
|  | Condensate Alarms Pass Through | 86458 | Staged Cooling Control v51 | 83818
|  |  |  | Proportional Cooling Control v51 | 83822
|  |  |  | 2 Position Cooling Control v51 | 83826

## Fan Coil-Heating Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Always Occupied | 72277 | Heating Control Status LV | 73520
Summer Winter Compensation | 51863 | Heating isAvailable Pass Through | 74846 | Heating Max Cap Fract LV | 73613
ZN-T Setpoint Determination | 52062 | System Mode Determination | 80776 | Heating Percent Cmd LV | 73616
|  | Water System Flush Pass Through | 80779 | MSC 2 Position Heating | 73751
|  | PID Tuning Reset | 83123 | MSC Staged Heating 01 | 73851
|  | Heating Staged Override Check 01 | 83193 | MSC Staged Heating 02 | 74020
|  | Heating Override Check | 83203 | MSC Staged Heating 03 | 74164
|  | Occupied Zone Sequencing (FC/AHU) v51 | 83749 | Staged Heating Control v51 | 83819
|  |  |  | Proportional Heating Control | 83823
|  |  |  | 2 Position Heating Control v51 | 83827

## HP-Cooling Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Unit Enable Determination | 72113 | Cooling Control Status LV | 73502
Summer Winter Compensation | 51863 | System Mode Determination | 80776 | Compressor Max Cap Fract LV | 73562
ZN-T Setpoint Determination | 52062 | PID Tuning Reset | 83123 | MSC Staged Compressor 1 | 73811
Airflow Status Determination | 69972 | Heat Pump Override 01 | 83196 | MSC Staged Compressor 2 | 73974
|  | Heat Pump Override 04 | 83197 | Staged Compressor Control v51 | 83832
|  | Occupied Zone Sequencing (HP) v51 | 83748
|  | Condensate Alarm Pass Through | 86458

## HP-Heating Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Heating Availability Determination | 67944 | Heating Control Status LV | 73520
Summer Winter Compensation | 51863 | Unit Enable Determination | 72113 | Supp Heating Control Status LV | 73532
ZN-T Setpoint Determination | 52062 | System Mode Determination | 80776 | Heating Max Cap Fract LV | 73613
Airflow Status Determination | 69972 | PID Tuning Reset | 83123 | Heating Percent Cmd LV | 73616
|  | Heating Staged Override Check 01 | 83193 | MSC Staged Heating 01 | 73851
|  | Heat Pump Override Check 01 | 83196 | MSC Staged Heating 02 | 74020
|  | Heat Pump Override Check 04 | 83197 | Staged Supplemental Heating Control v51 | 83820
|  | Occupied Zone Sequencing (HP) v51 | 83748 | Staged Compressor Control v51 | 83832

## UV-Cooling Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Cooling Availability Determination | 67893 | Cooling Control Status LV | 73502
Summer Winter Compensation | 51863 | Always Occupied | 72277 | Cooling Max Cap Fract LV | 73589
ZN-T Setpoint Determination | 52062 | System Mode Determination | 80776 | Cooling Percent Cmd LV | 73592
|  | Water System Flush Pass Through | 80779 | MSC 2 Position Cooling | 73731
|  | PID Tuning Reset | 83123 | MSC Staged Cooling 01 | 73831
|  | Cooling Override Check | 83128 | MSC Staged Cooling 02 | 73997
|  | Cooling Staged Override Check 01 | 83129 | MSC Staged Cooling 03 | 74138
|  | Cooling Staged Override Check 04 | 83183 | Staged Cooling Control v51 | 83818
|  | UV-ZN-T Sequencing ASHRAE 1 v51 | 83752 | Proportional Cooling Control v51 | 83822
|  | UV-ZN-T Sequencing ASHRAE 2 v51 | 83753 | 2 Position Cooling Control v51 | 83826
|  | UV-ZN-T Sequencing ASHRAE 3 v51 | 83754
|  | UV-ZN-T Sequencing ASHRAE W v51 | 83755
|  | Condensate Alarm Pass Through | 86458

## UV-Heating Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID
Occupancy Mode Determination | 51131 | Heating Availability Determination | 67944 | Heating Control Status LV | 73520
Summer Winter Compensation | 51863 | System Mode Determination | 80776 | Heating Max Cap Fract LV | 73613
ZN-T Setpoint Determination | 52062 | Water System Flush Pass Through | 80779 | Heating Percent Cmd LV | 73616
Low OA Temperature Diff | 72301 | PID Tuning Reset | 83123 | MSC 2 Position Heating | 73751
Low OA Temperature Setpoint | 72303 | Heating Staged Override Check 01 | 83193 | MSC Staged Heating 01 | 73851
|  | Heating Staged Override Check 04 | 83194 | MSC Staged Heating 02 | 74020
|  | Heating Override Check | 83203 | MSC Staged Heating 03 | 74164
|  | UV-ZN-T Sequencing ASHRAE 1 v51 | 83752 | UV Staged Heating Control v51 | 83872
|  | UV-ZN-T Sequencing ASHRAE 2 v51 | 83753 | UV Face and Bypass Heating Control v51 | 83873
|  | UV-ZN-T Sequencing ASHRAE 3 v51 | 83754 | UV Proportional Heating Control v51 | 83874
|  | UV-ZN-T Sequencing ASHRAE W v51 | 83755 | UV 2 Position Heating Control v51 | 83877
|  |  |  | UV FBPD Proportional Heating Control | 84876

## VAVDD-CD Damper Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID | CD Flow Calculation Widget Detail
Occupancy Mode Determination | 51131 | Balancer Override DD | 50156 | CD CS LV | 73499 | Name | BACOID
VAV Dual Duct Variable Flow End Point Calculation | 51842 | Unit Enable Dtermination | 72113 | CD Output LV | 73556 | CD Flow Calculation | 73096
Summer Winter Compensation | 51863 | Always Occupied | 72277 | CD Constant Flow Setpoint Control v51 | 83878
ZN-T Setpoint Determination | 52062 | System Mode Determination | 80776 | CD Flow Setpoint Control v51 | 83879
Cold Deck Damper Stroke Time | 72279 | Autocalibration Sequence v50 | 83035 | CD Constant Damper Control v51 | 83887
CD Flow Calculation | 73096 | PID Tuning Reset | 83123 | CD Damper Control v51 | 83888
Supply Flow Calculation | 73195 | Dual Duct VAV Damper Override Check | 83132 | Min Flow Control (VAVDual Duct) | 84484
Autocalibrate Now LV | 73481 | CD Damper Override Check | 83204
CD Area LV | 73553 | VAV-ZN-T Sequencing v51 | 83756
CD Pickup Gain LV | 73559 | CD Box Flow Test | 84878
Supply Area LV | 73682
Supply Pickup Gain | 73688
Constant Dual Duct Endpoint Calculation | 77580
Calculate Supply Flow | 77723
Minimum Flow Determination-Dual Duct | 77977
Pressure Request Determination | 86480

## VAVDD-HD Damper Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID | HD Flow Calculation Widget Detail
Occupancy Mode Determination | 51131 | Balancer Override DD | 50156 | HD CS LV | 73514 | Name | BACOID
VAV Dual Duct Variable Flow End Point Calculation | 51842 | Unit Enable Determination | 72113 | Supp Heating LV | 73535 | HD Flow Calculation | 73141
Summer Winter Compensation | 51863 | Always Occupied | 72277 | Heating Percent Cmd LV | 73616
ZN-T Setpoint Determination | 52062 | Supp Heating isAvailable Pass Through | 74852 | MSC Staged Supplemental Heating | 73931
Hot Deck Damper Stroke Time | 72293 | System Mode Determination | 80776 | HD Constant Flow Setpoint Control | 77833
HD Flow Calculation | 73141 | Autocalibration Sequence v50 | 83035 | Staged Supplemental Heating Control v51 | 83820
Supply Flow Calculation | 73195 | PID Tuning Reset | 83123 | Proportional Supplemental Heating Control v51 | 83824
Autocalibrate Now LV | 73481 | Dual Duct VAV Damper Override Check | 83132 | 2 Position Supplemental Heating Control v51 | 83828
HD AreaLV | 73604 | Supplemental Heat Override Check | 83140 | HD Flow Setpoint Control v51 | 83880
HD Pickup Gain LV | 73607 | Supplemental Heat Stage Override Check 01 | 83141 | HD Constant Damper Control v51 | 83889
Supply Area LV | 73682 | HD Damper Override Check | 83205 | HD Damper Control v51 | 83890
Supply Pickup Gain LV | 73688 | VAV-ZN-T Sequencing v51 | 83756 | Min Flow Control (VAV Dual Duct) | 84484
Constant Dual Duct Endpoint Calculation | 77580 | HD Box Flow Test | 84880 | HD Output LV | 85259
Calculate Supply Flow | 77723
Minimum Flow Determination-Dual Duct | 77977
Pressure Request Determination | 86480

## VAVSD-Damper Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID | Supply Flow Calculation Widget Detail
Occupancy Mode Determination | 51131 | Balancer Override SD | 50210 | Damper Control Status LV | 73505 | Name | BACOID
Summer Winter Compensation | 51863 | Balancer Override SDX | 50237 | Damper Output LV | 73595 | Supply Flow Calculation | 73195
ZN-T Setpoint Determination | 52062 | Box Flow Test | 50267 | Supply Flow Setpoint Control v51 | 83881
Exhaust Differential Setpoint Calculation | 71079 | Always Occupied | 72277 | Supply Damper Control v51 | 83891
Exhaust Damper Stroke Time | 72287 | System Mode Determination | 80776 | Exhaust Damper Control v60 | 84881
Supply Damper Stroke Time | 72307 | Smoke Control Sequencing for UL-864-UUKL | 81027 | Exhaust Output LV | 85260
Exhaust Flow Calculation | 73132 | Autocalibration Sequence v50 | 83035 | Supply Flow Setpoint Control HFR | 85736
Supply Flow Calculation | 73195 | PID Tuning Reset | 83123
Autocalibrate Now LV | 73481 | Single Duct VAV Damper Override Check | 83139
Exhaust Area LV | 73598 | Occupied Zone Sequencing (VAV) v51 | 83747
Exhaust Pickup Gain LV | 73601 | Exhaust Box Flow Test | 84879
Supply Area LV | 73682 | Occupied Zone Sequencing (VAV) HFR | 85735
Supply Pickup Gain LV | 73688
Minimum Flow Determination | 77852

## VAVSD-Heating Control
Setpoint/Miscellaneous | BACOID | State Generation | BACOID | Output Control | BACOID | HTG TUNING INFORMATION | BACOID | SUPHTG TUNING INFORMATION | BACOID
Occupancy Mode Determination | 51131 | Unoccupied Sequencing (VAV) | 62670 | Box Heating LV | 73496 | HTG-ABSEFFORT | 4174 | SUPHTG-ABSEFFORT | 4190
Summer Winter Compensation | 51863 | Always Occupied | 72277 | Supp Heating LV | 73535 | HTG-ABSERROR | 4173 | SUPHTG-ABSERROR | 4189
ZN-T Setpoint Determination | 52062 | Box Heating isAvailable Pass Through | 74825 | Zone Heating Control Status LV | 73544 | HTG-ERROR | 4175 | SUPHTG-ERROR | 4191
Staged Device Enable Determnation Series | 78197 | Supp Heating isAvailable Pass Through | 74852 | Box Heating Max Cap Fract LV | 73547 | HTG-EWMA | 4176 | SUPHTG-EWMA | 4192
WarmupCooldown Determination | 79289 | WarmupCooldown Sequencing | 79335 | Cascaded DA-T Setpoint LV | 73550 | HTG-OUTSTATE | 3309 | SUPHTG-OUTSTATE | 3318
|  | PID Tuning Reset | 83123 | Heating Percent Cmd | 73616
|  | Box Heat Override Check | 83124 | MSC 2 Position Box Heating | 73711
|  | Box Heat Staged Override Check 04 | 83125 | MSC 2 Position Supplemental Heating | 73771
|  | Supplemental Heat Override Check | 83140 | MSC Staged Box Heating 01 | 73791
|  | Supp Heat Staged Override Check 01 | 83141 | MSC Staged Supplemental Heating | 73931
|  | Box Heat Staged Override Check 01 | 83189 | MSC Staged Box Heating 02 | 73951
|  | Occupied Zone Sequencing (VAV) v51 | 83747 | MSC Staged Box Heating 03 | 74112
|  | Occupied Zone Sequencing (VAV) HFR | 85735 | Staged Box Heating Control v51 | 83785
|  |  |  | Staged Supplemental Heating Control v51 | 83820
|  |  |  | Proportional Box Heating Control v51 | 83821
|  |  |  | Proportional Supplemental Heating Control v51 | 83824
|  |  |  | 2 Position Box Heating Control v51 | 83825
|  |  |  | 2 Position Supplemental Heating Control v51 | 83828
|  |  |  | Box Htg DA Setpoint Reset | 83952
|  |  |  | Proportional Box Heating Control w Enable | 84474
|  |  |  | Proportional Supplemental Heating Control W Enable | 84476